## Operational_Daily
Reporting_Date | Data_Center_Name | Total_Power_kW | Used_Power_kW | Total_Racks | Used_Racks | Total_Cooling_kW | Used_Cooling_kW | Comments
2025-01-11 | DC-One | 500 | 387.6 | 100 | 61 | 450 | 350.7 | None
2025-01-11 | DC-Two | 600 | 428.4 | 120 | 78 | 500 | 393.7 | Routine check
2025-01-11 | DC-Three | 700 | 555.8 | 150 | 119 | 600 | 391.4 | Cooling system inspection
2025-02-03 | DC-One | 500 | 396.7 | 100 | 62 | 450 | 325 | Cooling system inspection
2025-02-03 | DC-Two | 600 | 375.1 | 120 | 82 | 500 | 386.7 | UPS maintenance scheduled
2025-02-03 | DC-Three | 700 | 428.3 | 150 | 118 | 600 | 466.8 | Routine check
2025-02-09 | DC-One | 500 | 310.4 | 100 | 69 | 450 | 337 | UPS maintenance scheduled
2025-02-09 | DC-Two | 600 | 433.5 | 120 | 79 | 500 | 310.5 | UPS maintenance scheduled
2025-02-09 | DC-Three | 700 | 510.1 | 150 | 105 | 600 | 410.8 | Cooling system inspection
2025-02-24 | DC-One | 500 | 335 | 100 | 68 | 450 | 288.2 | Cooling system inspection
2025-02-24 | DC-Two | 600 | 476.4 | 120 | 81 | 500 | 360.8 | None
2025-02-24 | DC-Three | 700 | 554.4 | 150 | 111 | 600 | 368.1 | UPS maintenance scheduled
2025-03-07 | DC-One | 500 | 365.7 | 100 | 76 | 450 | 325.4 | Cooling system inspection
2025-03-07 | DC-Two | 600 | 390.3 | 120 | 73 | 500 | 371.6 | None
2025-03-07 | DC-Three | 700 | 453.8 | 150 | 118 | 600 | 424 | Cooling system inspection
2025-03-14 | DC-One | 500 | 386.1 | 100 | 75 | 450 | 342.1 | Cooling system inspection
2025-03-14 | DC-Two | 600 | 472.8 | 120 | 85 | 500 | 336.5 | Routine check
2025-03-14 | DC-Three | 700 | 525.9 | 150 | 102 | 600 | 386.7 | UPS maintenance scheduled
2025-03-20 | DC-One | 500 | 397.1 | 100 | 78 | 450 | 281.7 | None
2025-03-20 | DC-Two | 600 | 396.2 | 120 | 77 | 500 | 332.6 | Cooling system inspection
2025-03-20 | DC-Three | 700 | 479.3 | 150 | 93 | 600 | 367.2 | Cooling system inspection
2025-03-23 | DC-One | 500 | 378.1 | 100 | 65 | 450 | 351.2 | None
2025-03-23 | DC-Two | 600 | 395.1 | 120 | 85 | 500 | 322.2 | Routine check
2025-03-23 | DC-Three | 700 | 471.3 | 150 | 95 | 600 | 476 | None
2025-03-28 | DC-One | 500 | 364.7 | 100 | 65 | 450 | 308.5 | Routine check
2025-03-28 | DC-Two | 600 | 476.6 | 120 | 88 | 500 | 349.6 | None
2025-03-28 | DC-Three | 700 | 498.2 | 150 | 95 | 600 | 445.1 | UPS maintenance scheduled
2025-04-12 | DC-One | 500 | 374.1 | 100 | 70 | 450 | 312.8 | Routine check
2025-04-12 | DC-Two | 600 | 392.4 | 120 | 84 | 500 | 384.9 | Cooling system inspection
2025-04-12 | DC-Three | 700 | 492.6 | 150 | 90 | 600 | 448.7 | UPS maintenance scheduled
2025-04-20 | DC-One | 500 | 315.2 | 100 | 73 | 450 | 282.3 | Cooling system inspection
2025-04-20 | DC-Two | 600 | 467.8 | 120 | 89 | 500 | 340.1 | Cooling system inspection
2025-04-20 | DC-Three | 700 | 472.7 | 150 | 93 | 600 | 453.1 | UPS maintenance scheduled
2025-04-29 | DC-One | 500 | 348.9 | 100 | 60 | 450 | 332.8 | UPS maintenance scheduled
2025-04-29 | DC-Two | 600 | 404.4 | 120 | 84 | 500 | 389.5 | Routine check
2025-04-29 | DC-Three | 700 | 420.5 | 150 | 118 | 600 | 393.3 | Routine check
2025-05-14 | DC-One | 500 | 303.5 | 100 | 62 | 450 | 304.2 | Cooling system inspection
2025-05-14 | DC-Two | 600 | 360.7 | 120 | 74 | 500 | 334.1 | Cooling system inspection
2025-05-14 | DC-Three | 700 | 466.6 | 150 | 96 | 600 | 448.3 | UPS maintenance scheduled
2025-05-29 | DC-One | 500 | 396 | 100 | 65 | 450 | 282.6 | Routine check
2025-05-29 | DC-Two | 600 | 440.5 | 120 | 81 | 500 | 348.7 | Cooling system inspection
2025-05-29 | DC-Three | 700 | 439.1 | 150 | 90 | 600 | 473.1 | UPS maintenance scheduled
2025-06-24 | DC-One | 500 | 399.8 | 100 | 73 | 450 | 296.7 | UPS maintenance scheduled
2025-06-24 | DC-Two | 600 | 453.8 | 120 | 76 | 500 | 393.1 | Cooling system inspection
2025-06-24 | DC-Three | 700 | 444.5 | 150 | 99 | 600 | 364.8 | None
2025-07-12 | DC-One | 500 | 352.4 | 100 | 79 | 450 | 328.1 | UPS maintenance scheduled
2025-07-12 | DC-Two | 600 | 433.9 | 120 | 93 | 500 | 369.4 | Routine check
2025-07-12 | DC-Three | 700 | 508.6 | 150 | 99 | 600 | 429.8 | Cooling system inspection
2025-07-16 | DC-One | 500 | 392.6 | 100 | 70 | 450 | 330.5 | UPS maintenance scheduled
2025-07-16 | DC-Two | 600 | 401.7 | 120 | 75 | 500 | 320.8 | Cooling system inspection
2025-07-16 | DC-Three | 700 | 423.6 | 150 | 106 | 600 | 412.3 | Routine check
2025-07-19 | DC-One | 500 | 365 | 100 | 69 | 450 | 345 | UPS maintenance scheduled
2025-07-19 | DC-Two | 600 | 431.5 | 120 | 90 | 500 | 338.8 | Cooling system inspection
2025-07-19 | DC-Three | 700 | 501.2 | 150 | 95 | 600 | 421.7 | UPS maintenance scheduled
2025-07-24 | DC-One | 500 | 396.9 | 100 | 74 | 450 | 310.5 | None
2025-07-24 | DC-Two | 600 | 455.3 | 120 | 95 | 500 | 313.3 | UPS maintenance scheduled
2025-07-24 | DC-Three | 700 | 512 | 150 | 106 | 600 | 434.6 | UPS maintenance scheduled
2025-07-28 | DC-One | 500 | 334.2 | 100 | 65 | 450 | 283 | Routine check
2025-07-28 | DC-Two | 600 | 467.4 | 120 | 79 | 500 | 375.4 | None
2025-07-28 | DC-Three | 700 | 504.2 | 150 | 94 | 600 | 379 | UPS maintenance scheduled
2025-08-04 | DC-One | 500 | 360.5 | 100 | 63 | 450 | 357.2 | Cooling system inspection
2025-08-04 | DC-Two | 600 | 369.6 | 120 | 85 | 500 | 335.7 | Cooling system inspection
2025-08-04 | DC-Three | 700 | 449.5 | 150 | 109 | 600 | 411.1 | UPS maintenance scheduled
2025-08-09 | DC-One | 500 | 397.6 | 100 | 72 | 450 | 313.5 | None
2025-08-09 | DC-Two | 600 | 395.1 | 120 | 82 | 500 | 362.3 | Cooling system inspection
2025-08-09 | DC-Three | 700 | 426 | 150 | 104 | 600 | 473.5 | UPS maintenance scheduled
2025-08-20 | DC-One | 500 | 363.4 | 100 | 73 | 450 | 272.5 | None
2025-08-20 | DC-Two | 600 | 403.2 | 120 | 81 | 500 | 369.3 | UPS maintenance scheduled
2025-08-20 | DC-Three | 700 | 450.5 | 150 | 98 | 600 | 393.2 | Routine check
2025-08-24 | DC-One | 500 | 378.8 | 100 | 74 | 450 | 299 | Routine check
2025-08-24 | DC-Two | 600 | 453.3 | 120 | 93 | 500 | 343.6 | None
2025-08-24 | DC-Three | 700 | 502.8 | 150 | 91 | 600 | 418.7 | Cooling system inspection
2025-09-12 | DC-One | 500 | 365.2 | 100 | 65 | 450 | 300.6 | Cooling system inspection
2025-09-12 | DC-Two | 600 | 387.2 | 120 | 95 | 500 | 334.3 | Cooling system inspection
2025-09-12 | DC-Three | 700 | 458.7 | 150 | 107 | 600 | 416.2 | Routine check
2025-09-17 | DC-One | 500 | 383.3 | 100 | 78 | 450 | 297.3 | Cooling system inspection
2025-09-17 | DC-Two | 600 | 396.9 | 120 | 92 | 500 | 369 | Cooling system inspection
2025-09-17 | DC-Three | 700 | 487.6 | 150 | 119 | 600 | 425.5 | None
2025-09-24 | DC-One | 500 | 313.3 | 100 | 71 | 450 | 359.4 | UPS maintenance scheduled
2025-09-24 | DC-Two | 600 | 402.7 | 120 | 87 | 500 | 324.5 | UPS maintenance scheduled
2025-09-24 | DC-Three | 700 | 549.8 | 150 | 110 | 600 | 431.8 | None
2025-10-03 | DC-One | 500 | 394.7 | 100 | 72 | 450 | 280.1 | UPS maintenance scheduled
2025-10-03 | DC-Two | 600 | 383.9 | 120 | 76 | 500 | 322.1 | Cooling system inspection
2025-10-03 | DC-Three | 700 | 504.3 | 150 | 113 | 600 | 361.5 | UPS maintenance scheduled
2025-10-27 | DC-One | 500 | 325.7 | 100 | 64 | 450 | 335.8 | Routine check
2025-10-27 | DC-Two | 600 | 441.4 | 120 | 72 | 500 | 327.6 | Cooling system inspection
2025-10-27 | DC-Three | 700 | 470.9 | 150 | 115 | 600 | 443.6 | Cooling system inspection
2025-10-30 | DC-One | 500 | 305.1 | 100 | 68 | 450 | 287.7 | None
2025-10-30 | DC-Two | 600 | 449.6 | 120 | 84 | 500 | 324.4 | None
2025-10-30 | DC-Three | 700 | 468.7 | 150 | 118 | 600 | 448.1 | None
2025-12-09 | DC-One | 500 | 349.9 | 100 | 66 | 450 | 278.5 | None
2025-12-09 | DC-Two | 600 | 396.1 | 120 | 72 | 500 | 371.4 | None
2025-12-09 | DC-Three | 700 | 456.5 | 150 | 115 | 600 | 477.4 | None
2025-12-11 | DC-One | 500 | 327.8 | 100 | 68 | 450 | 293 | None
2025-12-11 | DC-Two | 600 | 397.3 | 120 | 78 | 500 | 318.8 | None
2025-12-11 | DC-Three | 700 | 544.8 | 150 | 112 | 600 | 422.7 | None
2025-12-13 | DC-One | 500 | 356.1 | 100 | 72 | 450 | 341.2 | None
2025-12-13 | DC-Two | 600 | 414.2 | 120 | 93 | 500 | 317.2 | None
2025-12-13 | DC-Three | 700 | 527.4 | 150 | 91 | 600 | 395.3 | None
2025-12-22 | DC-One | 500 | 372.2 | 100 | 60 | 450 | 317.2 | Cooling system inspection
2025-12-22 | DC-Two | 600 | 467.8 | 120 | 74 | 500 | 371.8 | UPS maintenance scheduled
2025-12-22 | DC-Three | 700 | 463.6 | 150 | 118 | 600 | 383.2 | None
2025-12-23 | DC-One | 500 | 370 | 100 | 75 | 450 | 282.6 | Cooling system inspection
2025-12-23 | DC-Two | 600 | 394 | 120 | 72 | 500 | 363.2 | Cooling system inspection
2025-12-23 | DC-Three | 700 | 526.1 | 150 | 97 | 600 | 440.8 | None
2025-12-30 | DC-One | 500 | 369.4 | 100 | 61 | 450 | 327.8 | Cooling system inspection
2025-12-30 | DC-Two | 600 | 448.2 | 120 | 77 | 500 | 307.6 | None
2025-12-30 | DC-Three | 700 | 497.9 | 150 | 103 | 600 | 447.2 | Routine check
2026-01-11 | DC-One | 500 | 300.1 | 100 | 75 | 450 | 332.2 | Routine check
2026-01-11 | DC-Two | 600 | 393.3 | 120 | 76 | 500 | 332.6 | UPS maintenance scheduled
2026-01-11 | DC-Three | 700 | 525.1 | 150 | 95 | 600 | 472.6 | UPS maintenance scheduled
2026-01-18 | DC-One | 500 | 325.3 | 100 | 73 | 450 | 330.2 | Cooling system inspection
2026-01-18 | DC-Two | 600 | 412.7 | 120 | 79 | 500 | 345.3 | UPS maintenance scheduled
2026-01-18 | DC-Three | 700 | 424.1 | 150 | 90 | 600 | 468.2 | UPS maintenance scheduled
2026-03-06 | DC-One | 500 | 384.2 | 100 | 79 | 450 | 271.9 | None
2026-03-06 | DC-Two | 600 | 449.9 | 120 | 85 | 500 | 369.2 | Routine check
2026-03-06 | DC-Three | 700 | 501.5 | 150 | 94 | 600 | 418.3 | UPS maintenance scheduled
2026-03-07 | DC-One | 500 | 353.8 | 100 | 67 | 450 | 275 | Routine check
2026-03-07 | DC-Two | 600 | 425.5 | 120 | 79 | 500 | 307 | None
2026-03-07 | DC-Three | 700 | 501.1 | 150 | 103 | 600 | 408.5 | UPS maintenance scheduled
2026-03-10 | DC-One | 500 | 330.2 | 100 | 74 | 450 | 275 | Cooling system inspection
2026-03-10 | DC-Two | 600 | 411.5 | 120 | 94 | 500 | 350.1 | Routine check
2026-03-10 | DC-Three | 700 | 512.5 | 150 | 113 | 600 | 416.4 | Cooling system inspection
2026-03-11 | DC-One | 500 | 377.8 | 100 | 67 | 450 | 297.9 | Cooling system inspection
2026-03-11 | DC-Two | 600 | 408.6 | 120 | 89 | 500 | 329.2 | None
2026-03-11 | DC-Three | 700 | 520.4 | 150 | 109 | 600 | 451.1 | None
2026-03-13 | DC-One | 500 | 341.6 | 100 | 74 | 450 | 302.6 | UPS maintenance scheduled
2026-03-13 | DC-Two | 600 | 394.6 | 120 | 90 | 500 | 342.3 | UPS maintenance scheduled
2026-03-13 | DC-Three | 700 | 559.9 | 150 | 105 | 600 | 393.9 | UPS maintenance scheduled
2026-03-24 | DC-One | 500 | 333.2 | 100 | 67 | 450 | 343.7 | None
2026-03-24 | DC-Two | 600 | 454 | 120 | 78 | 500 | 395.1 | UPS maintenance scheduled
2026-03-24 | DC-Three | 700 | 514.2 | 150 | 112 | 600 | 390 | None
2026-04-03 | DC-One | 500 | 308 | 100 | 66 | 450 | 279.1 | Cooling system inspection
2026-04-03 | DC-Two | 600 | 474.7 | 120 | 93 | 500 | 357.2 | Routine check
2026-04-03 | DC-Three | 700 | 553.8 | 150 | 97 | 600 | 365.5 | None
2026-04-10 | DC-One | 500 | 365.7 | 100 | 66 | 450 | 325 | Routine check
2026-04-10 | DC-Two | 600 | 379.2 | 120 | 88 | 500 | 331.3 | None
2026-04-10 | DC-Three | 700 | 548 | 150 | 114 | 600 | 425.7 | Cooling system inspection
2026-04-14 | DC-One | 500 | 330.7 | 100 | 71 | 450 | 324.7 | UPS maintenance scheduled
2026-04-14 | DC-Two | 600 | 446.2 | 120 | 85 | 500 | 379.2 | UPS maintenance scheduled
2026-04-14 | DC-Three | 700 | 462.3 | 150 | 119 | 600 | 388.1 | UPS maintenance scheduled
2026-04-29 | DC-One | 500 | 371.9 | 100 | 60 | 450 | 278.5 | Cooling system inspection
2026-04-29 | DC-Two | 600 | 392.3 | 120 | 84 | 500 | 361.1 | Cooling system inspection
2026-04-29 | DC-Three | 700 | 493.9 | 150 | 107 | 600 | 409.3 | Cooling system inspection
2026-05-28 | DC-One | 500 | 315.1 | 100 | 74 | 450 | 289.5 | Routine check
2026-05-28 | DC-Two | 600 | 423.1 | 120 | 73 | 500 | 395.9 | Cooling system inspection
2026-05-28 | DC-Three | 700 | 489.2 | 150 | 104 | 600 | 439.2 | Cooling system inspection
2026-05-31 | DC-One | 500 | 327.9 | 100 | 72 | 450 | 284.7 | Routine check
2026-05-31 | DC-Two | 600 | 447 | 120 | 72 | 500 | 312.6 | Cooling system inspection
2026-05-31 | DC-Three | 700 | 486.5 | 150 | 100 | 600 | 360.3 | None
2026-06-07 | DC-One | 500 | 330.8 | 100 | 69 | 450 | 296.7 | Cooling system inspection
2026-06-07 | DC-Two | 600 | 422.7 | 120 | 94 | 500 | 380.7 | Cooling system inspection
2026-06-07 | DC-Three | 700 | 481.4 | 150 | 104 | 600 | 363 | Cooling system inspection
2026-08-11 | DC-One | 500 | 363.2 | 100 | 73 | 450 | 328 | None
2026-08-11 | DC-Two | 600 | 394.5 | 120 | 76 | 500 | 335.9 | UPS maintenance scheduled
2026-08-11 | DC-Three | 700 | 436.4 | 150 | 109 | 600 | 430 | UPS maintenance scheduled
2026-08-17 | DC-One | 500 | 339.5 | 100 | 64 | 450 | 289 | None
2026-08-17 | DC-Two | 600 | 405.7 | 120 | 80 | 500 | 328.7 | Cooling system inspection
2026-08-17 | DC-Three | 700 | 538.5 | 150 | 91 | 600 | 461.9 | Routine check
2026-09-29 | DC-One | 500 | 365.5 | 100 | 64 | 450 | 351 | Routine check
2026-09-29 | DC-Two | 600 | 361 | 120 | 84 | 500 | 348.2 | Routine check
2026-09-29 | DC-Three | 700 | 482.4 | 150 | 117 | 600 | 455 | Cooling system inspection
2026-10-12 | DC-One | 500 | 309.5 | 100 | 65 | 450 | 281.8 | Routine check
2026-10-12 | DC-Two | 600 | 402.5 | 120 | 82 | 500 | 356.4 | Cooling system inspection
2026-10-12 | DC-Three | 700 | 558.7 | 150 | 99 | 600 | 424.7 | None
2026-11-11 | DC-One | 500 | 390.2 | 100 | 61 | 450 | 280.3 | Cooling system inspection
2026-11-11 | DC-Two | 600 | 360.9 | 120 | 91 | 500 | 383.5 | Routine check
2026-11-11 | DC-Three | 700 | 559.8 | 150 | 114 | 600 | 441.8 | Routine check
2026-11-20 | DC-One | 500 | 300.7 | 100 | 68 | 450 | 311.9 | None
2026-11-20 | DC-Two | 600 | 439.5 | 120 | 78 | 500 | 322.1 | None
2026-11-20 | DC-Three | 700 | 546.6 | 150 | 109 | 600 | 432 | UPS maintenance scheduled
2026-11-28 | DC-One | 500 | 370.9 | 100 | 75 | 450 | 298.9 | Cooling system inspection
2026-11-28 | DC-Two | 600 | 386.5 | 120 | 72 | 500 | 389.6 | Cooling system inspection
2026-11-28 | DC-Three | 700 | 449 | 150 | 103 | 600 | 465 | None
2026-12-12 | DC-One | 500 | 314.1 | 100 | 62 | 450 | 272.7 | UPS maintenance scheduled
2026-12-12 | DC-Two | 600 | 406.1 | 120 | 79 | 500 | 380.6 | Cooling system inspection
2026-12-12 | DC-Three | 700 | 430.2 | 150 | 99 | 600 | 437.4 | UPS maintenance scheduled
2026-12-18 | DC-One | 500 | 305.6 | 100 | 76 | 450 | 288.8 | Routine check
2026-12-18 | DC-Two | 600 | 411.6 | 120 | 72 | 500 | 322.4 | Cooling system inspection
2026-12-18 | DC-Three | 700 | 554 | 150 | 113 | 600 | 454.5 | Cooling system inspection

## Monthly_Raw
Reporting_Date | Data_Center_Name | Monthly_Contracted_Racks | Reserved_Racks | Decommissioned_Racks | Total_Contracted_Racks | Avg_Total_Load_kW | Avg_IT_Load_kW
2024-01-31 | DC-One | 9 | 10 | 0 | 9 | 71.1 | 37
2024-02-29 | DC-One | 8 | 0 | 0 | 17 | 107.5 | 68.9
2024-03-31 | DC-One | 6 | 10 | 0 | 23 | 165.9 | 88.9
2024-04-30 | DC-One | 10 | 1 | 2 | 31 | 198.7 | 128.3
2024-05-31 | DC-One | 8 | 0 | 1 | 38 | 271.7 | 155.9
2024-06-30 | DC-One | 8 | 3 | 1 | 45 | 326.7 | 187.3
2024-07-31 | DC-One | 9 | 5 | 2 | 52 | 364 | 201.9
2024-08-31 | DC-One | 5 | 3 | 2 | 55 | 426.4 | 226
2024-09-30 | DC-One | 4 | 3 | 1 | 58 | 416.1 | 225.4
2024-10-31 | DC-One | 4 | 4 | 1 | 61 | 454 | 251.4
2024-11-30 | DC-One | 8 | 5 | 1 | 68 | 508.3 | 271.1
2024-12-31 | DC-One | 9 | 9 | 1 | 76 | 460.1 | 289
2025-01-31 | DC-One | 4 | 8 | 1 | 79 | 559.9 | 327.6
2025-02-28 | DC-One | 10 | 8 | 2 | 87 | 620.8 | 342.6
2025-03-31 | DC-One | 4 | 5 | 2 | 89 | 655.4 | 344.1
2025-04-30 | DC-One | 7 | 8 | 0 | 96 | 744.4 | 389.3
2025-05-31 | DC-One | 9 | 9 | 2 | 103 | 812.3 | 423.6
2025-06-30 | DC-One | 6 | 9 | 0 | 109 | 677.9 | 438.2
2025-07-31 | DC-One | 10 | 4 | 0 | 119 | 707.6 | 454.4
2025-08-31 | DC-One | 8 | 8 | 1 | 126 | 865.7 | 513.4
2025-09-30 | DC-One | 9 | 5 | 2 | 133 | 924 | 510.8
2025-10-31 | DC-One | 7 | 1 | 1 | 139 | 842.9 | 532.6
2025-11-30 | DC-One | 8 | 3 | 0 | 147 | 1113.9 | 587.6
2025-12-31 | DC-One | 3 | 2 | 1 | 149 | 1054.9 | 593.3
2026-01-31 | DC-One | 4 | 5 | 1 | 178 | 1054.9 | 600
2024-01-31 | DC-Two | 10 | 9 | 0 | 10 | 74 | 40.3
2024-02-29 | DC-Two | 8 | 8 | 0 | 18 | 114.5 | 71.1
2024-03-31 | DC-Two | 10 | 0 | 0 | 28 | 201.1 | 112.1
2024-04-30 | DC-Two | 7 | 9 | 0 | 35 | 263 | 145.5
2024-05-31 | DC-Two | 5 | 0 | 1 | 39 | 273.8 | 156.8
2024-06-30 | DC-Two | 5 | 7 | 1 | 43 | 340.3 | 176.7
2024-07-31 | DC-Two | 5 | 6 | 1 | 47 | 351.3 | 194.5
2024-08-31 | DC-Two | 5 | 8 | 1 | 51 | 337.7 | 196.3
2024-09-30 | DC-Two | 6 | 1 | 0 | 57 | 381.9 | 230.5
2024-10-31 | DC-Two | 7 | 3 | 2 | 62 | 446.5 | 252.9
2024-11-30 | DC-Two | 5 | 1 | 0 | 67 | 504.7 | 260.3
2024-12-31 | DC-Two | 5 | 7 | 1 | 71 | 587.6 | 296.1
2025-01-31 | DC-Two | 4 | 4 | 2 | 73 | 489.1 | 285.6
2025-02-28 | DC-Two | 8 | 5 | 0 | 81 | 538.6 | 333.8
2025-03-31 | DC-Two | 7 | 4 | 1 | 87 | 677.5 | 358.4
2025-04-30 | DC-Two | 7 | 0 | 1 | 93 | 708.1 | 377.8
2025-05-31 | DC-Two | 4 | 6 | 1 | 96 | 669.1 | 373.7
2025-06-30 | DC-Two | 5 | 2 | 0 | 101 | 723 | 410.7
2025-07-31 | DC-Two | 4 | 2 | 1 | 104 | 663.4 | 396.3
2025-08-31 | DC-Two | 4 | 5 | 0 | 108 | 683.8 | 435.2
2025-09-30 | DC-Two | 10 | 4 | 1 | 117 | 738.7 | 489.6
2025-10-31 | DC-Two | 8 | 7 | 0 | 125 | 785.5 | 513.6
2025-11-30 | DC-Two | 5 | 3 | 0 | 130 | 826.2 | 544
2025-12-31 | DC-Two | 9 | 7 | 0 | 139 | 1008.1 | 563.2
2026-01-31 | DC-Two | 0 | 0 | 0 | 139 | 1008.1 | 563.2
2024-01-31 | DC-Three | 4 | 10 | 0 | 4 | 25.6 | 12.914
2024-02-29 | DC-Three | 5 | 10 | 0 | 9 | 54.6 | 29.0565
2024-03-31 | DC-Three | 6 | 6 | 0 | 15 | 88.2 | 48.4275
2024-04-30 | DC-Three | 8 | 8 | 0 | 23 | 157.1 | 74.2555
2024-05-31 | DC-Three | 9 | 10 | 2 | 30 | 175.9 | 96.855
2024-06-30 | DC-Three | 4 | 9 | 0 | 34 | 254.2 | 109.769
2024-07-31 | DC-Three | 4 | 1 | 1 | 37 | 243 | 119.4545
2024-08-31 | DC-Three | 5 | 3 | 0 | 42 | 268.8 | 135.597
2024-09-30 | DC-Three | 8 | 1 | 1 | 49 | 364 | 158.1965
2024-10-31 | DC-Three | 5 | 0 | 2 | 52 | 330.7 | 167.882
2024-11-30 | DC-Three | 7 | 7 | 1 | 58 | 394.4 | 187.253
2024-12-31 | DC-Three | 7 | 8 | 0 | 65 | 473 | 209.8525
2025-01-31 | DC-Three | 5 | 6 | 1 | 69 | 440.8 | 222.7665
2025-02-28 | DC-Three | 4 | 9 | 1 | 72 | 445.5 | 232.452
2025-03-31 | DC-Three | 10 | 6 | 1 | 81 | 505.2 | 261.5085
2025-04-30 | DC-Three | 10 | 10 | 2 | 89 | 576.2 | 287.3365
2025-05-31 | DC-Three | 9 | 0 | 2 | 96 | 708.2 | 309.936
2025-06-30 | DC-Three | 7 | 3 | 2 | 101 | 660.8 | 326.0785
2025-07-31 | DC-Three | 8 | 0 | 0 | 109 | 676.9 | 351.9065
2025-08-31 | DC-Three | 10 | 9 | 1 | 118 | 915.1 | 380.963
2025-09-30 | DC-Three | 6 | 7 | 2 | 122 | 920.4 | 393.877
2025-10-31 | DC-Three | 9 | 2 | 1 | 130 | 1004.8 | 419.705
2025-11-30 | DC-Three | 10 | 7 | 0 | 140 | 914 | 451.99
2025-12-31 | DC-Three | 9 | 8 | 1 | 148 | 964.4 | 477.818
2026-01-31 | DC-Three | 0 | 0 | 0 | 148 | 964.4 | 477.818

## Monthly_Validated
Reporting_Date | Data_Center_Name | Monthly_Contracted_Racks | Reserved_Racks | Decommissioned_Racks | Total_Contracted_Racks | Avg_Total_Load_kW | Avg_IT_Load_kW
2024-01-31 | DC-One | 9 | 10 | 0 | 9 | 64.8 | 36
2024-02-29 | DC-One | 8 | 0 | 0 | 17 | 122.4 | 68
2024-03-31 | DC-One | 6 | 10 | 0 | 23 | 165.6 | 92
2024-04-30 | DC-One | 10 | 1 | 2 | 31 | 223.2 | 124
2024-05-31 | DC-One | 8 | 0 | 1 | 38 | 273.6 | 152
2024-06-30 | DC-One | 8 | 3 | 1 | 45 | 324 | 180
2024-07-31 | DC-One | 9 | 5 | 2 | 52 | 374.4 | 208
2024-08-31 | DC-One | 5 | 3 | 2 | 55 | 396 | 220
2024-09-30 | DC-One | 4 | 3 | 1 | 58 | 417.6 | 232
2024-10-31 | DC-One | 4 | 4 | 1 | 61 | 439.2 | 244
2024-11-30 | DC-One | 8 | 5 | 1 | 68 | 489.6 | 272
2024-12-31 | DC-One | 9 | 9 | 1 | 76 | 547.2 | 304
2025-01-31 | DC-One | 4 | 8 | 1 | 79 | 568.8 | 316
2025-02-28 | DC-One | 10 | 8 | 2 | 87 | 626.4 | 348
2025-03-31 | DC-One | 4 | 5 | 2 | 89 | 640.8 | 356
2025-04-30 | DC-One | 7 | 8 | 0 | 96 | 691.2 | 384
2025-05-31 | DC-One | 9 | 9 | 2 | 103 | 741.6 | 412
2025-06-30 | DC-One | 6 | 9 | 0 | 109 | 784.8 | 436
2025-07-31 | DC-One | 10 | 4 | 0 | 119 | 856.8 | 476
2025-08-31 | DC-One | 8 | 8 | 1 | 126 | 907.2 | 504
2025-09-30 | DC-One | 9 | 5 | 2 | 133 | 957.6 | 532
2025-10-31 | DC-One | 7 | 1 | 1 | 139 | 1000.8 | 556
2025-11-30 | DC-One | 8 | 3 | 0 | 147 | 1058.4 | 588
2025-12-31 | DC-One | 3 | 2 | 1 | 149 | 1072.8 | 596
2026-01-31 | DC-One | 4 | 5 | 1 | 178 | 1054.9 | 600
2024-01-31 | DC-Two | 10 | 9 | 0 | 10 | 72 | 40
2024-02-29 | DC-Two | 8 | 8 | 0 | 18 | 129.6 | 72
2024-03-31 | DC-Two | 10 | 0 | 0 | 28 | 201.6 | 112
2024-04-30 | DC-Two | 7 | 9 | 0 | 35 | 252 | 140
2024-05-31 | DC-Two | 5 | 0 | 1 | 39 | 280.8 | 156
2024-06-30 | DC-Two | 5 | 7 | 1 | 43 | 309.6 | 172
2024-07-31 | DC-Two | 5 | 6 | 1 | 47 | 338.4 | 188
2024-08-31 | DC-Two | 5 | 8 | 1 | 51 | 367.2 | 204
2024-09-30 | DC-Two | 6 | 1 | 0 | 57 | 410.4 | 228
2024-10-31 | DC-Two | 7 | 3 | 2 | 62 | 446.4 | 248
2024-11-30 | DC-Two | 5 | 1 | 0 | 67 | 482.4 | 268
2024-12-31 | DC-Two | 5 | 7 | 1 | 71 | 511.2 | 284
2025-01-31 | DC-Two | 4 | 4 | 2 | 73 | 525.6 | 292
2025-02-28 | DC-Two | 8 | 5 | 0 | 81 | 583.2 | 324
2025-03-31 | DC-Two | 7 | 4 | 1 | 87 | 626.4 | 348
2025-04-30 | DC-Two | 7 | 0 | 1 | 93 | 669.6 | 372
2025-05-31 | DC-Two | 4 | 6 | 1 | 96 | 691.2 | 384
2025-06-30 | DC-Two | 5 | 2 | 0 | 101 | 727.2 | 404
2025-07-31 | DC-Two | 4 | 2 | 1 | 104 | 748.8 | 416
2025-08-31 | DC-Two | 4 | 5 | 0 | 108 | 777.6 | 432
2025-09-30 | DC-Two | 10 | 4 | 1 | 117 | 842.4 | 468
2025-10-31 | DC-Two | 8 | 7 | 0 | 125 | 900 | 500
2025-11-30 | DC-Two | 5 | 3 | 0 | 130 | 936 | 520
2025-12-31 | DC-Two | 9 | 7 | 0 | 139 | 1000.8 | 556
2026-01-31 | DC-Two | 9 | 7 | 0 | 139 | 1008.1 | 563.2
2024-01-31 | DC-Three | 4 | 10 | 0 | 4 | 25.6 | 12.914
2024-02-29 | DC-Three | 5 | 10 | 0 | 9 | 54.6 | 29.0565
2024-03-31 | DC-Three | 6 | 6 | 0 | 15 | 88.2 | 48.4275
2024-04-30 | DC-Three | 8 | 8 | 0 | 23 | 157.1 | 74.2555
2024-05-31 | DC-Three | 9 | 10 | 2 | 30 | 175.9 | 96.855
2024-06-30 | DC-Three | 4 | 9 | 0 | 34 | 254.2 | 109.769
2024-07-31 | DC-Three | 4 | 1 | 1 | 37 | 243 | 119.4545
2024-08-31 | DC-Three | 5 | 3 | 0 | 42 | 268.8 | 135.597
2024-09-30 | DC-Three | 8 | 1 | 1 | 49 | 364 | 158.1965
2024-10-31 | DC-Three | 5 | 0 | 2 | 52 | 330.7 | 167.882
2024-11-30 | DC-Three | 7 | 7 | 1 | 58 | 394.4 | 187.253
2024-12-31 | DC-Three | 7 | 8 | 0 | 65 | 473 | 209.8525
2025-01-31 | DC-Three | 5 | 6 | 1 | 69 | 440.8 | 222.7665
2025-02-28 | DC-Three | 4 | 9 | 1 | 72 | 445.5 | 232.452
2025-03-31 | DC-Three | 10 | 6 | 1 | 81 | 505.2 | 261.5085
2025-04-30 | DC-Three | 10 | 10 | 2 | 89 | 576.2 | 287.3365
2025-05-31 | DC-Three | 9 | 0 | 2 | 96 | 708.2 | 309.936
2025-06-30 | DC-Three | 7 | 3 | 2 | 101 | 660.8 | 326.0785
2025-07-31 | DC-Three | 8 | 0 | 0 | 109 | 676.9 | 351.9065
2025-08-31 | DC-Three | 10 | 9 | 1 | 118 | 915.1 | 380.963
2025-09-30 | DC-Three | 6 | 7 | 2 | 122 | 920.4 | 393.877
2025-10-31 | DC-Three | 9 | 2 | 1 | 130 | 1004.8 | 419.705
2025-11-30 | DC-Three | 10 | 7 | 0 | 140 | 914 | 451.99
2025-12-31 | DC-Three | 9 | 8 | 1 | 148 | 964.4 | 477.818
2026-01-31 | DC-Three | 0 | 0 | 0 | 148 | 964.4 | 477.818